## DNA Preseq Calculator
DNA PreSeq™ Calculator
USE PRESEQ™ TO DETERMINE LIBRARY INPUT
To determine DNA input quantity to use for VARIANTPlex™ assays, calculate your DNA QC Score using the Equation in cell C9.
Input your DNA QC Score into the calculator below (Cell B10) to review application-specific input requirements particular to your sample.
| DNA QC score | =Sample Cq - Synthetic Standard Cq
12
Calculation for amplifiable genomes per ng described in the equation in cell A17
(2-(DNA QC Score) × 499427.9 Synthetic copies × 0.647 (length correction))/5ng input
=((2^-(B10))*(499427.9*0.647))/5
15.7778 | amplifiable genomes per ng
We define an amplifiable genome as one complete haploid genome of sufficient quality and fragment length to be detectable by PCR.
Thus, for each amplifiable genome present in a sample, there is on average a single copy of each genomic locus that is available for library generation.
Required quantity of amplifiable genomes per application
| Minimum ng recommended |  | Absolute minimum ng recommended
4nM library yield | 139.4362 |  | 69.7181
1,100 amplifiable genomes needed
WARNING: We do not recommend using greater than 400ng input with our assays. Using more than 400ng input may produce unpredictable/low-quality results.
Archer Analysis Variations QC Pass | 475.3507 |  | 237.6753
3,750 amplifiable genomes needed
≥2% allelic frequency mutation detection | 823.9412 |  | 411.9706
6,500 amplifiable genomes needed
CNV calling (≥3-fold change) | 240.8444 |  | 120.4222
1,900 amplifiable genomes needed
NOTE: The DNA QC Score is calculated assuming you did not deviate from the PreSeq® DNA QC Assay protocol (using 5ng input).
In general, using more input material will result in better assay performance (up to the 400ng maximum).
Need help? Contact Technical Support at
archer-tech@idtdna.com
2425 55th Street, Boulder, CO 80301 ¦ archer-tech@idtdna.com BLD-F101 / REV01 For research use only. Not for use in diagnostic procedures